# Safety Checks

At Happy Kid’s Face we take reasonable steps to ensure the safety of children, staff and others on the premises including carrying out safety checks on a regular basis in accordance with the timescales set out in the nursery checklists table at the end of this policy.

These include daily safety checks of the premises, indoors and outdoors, and all equipment and resources before the children access any of the areas. The checks are recorded and show any issues and solutions.

All staff are trained in health and safety to raise awareness. Staff know how to recognise potential hazards, including near misses in the nursery environment and monitor safety at all times.

Risk assessments (refer to the Overall approach to risk assessments policy)

Risk assessments document the hazard, who could be harmed, existing controls, the seriousness of the risk or potential injury, any further action needed to control the risk, who is responsible for what action, when and how often will the action be undertaken, and how will this be monitored and checked and by whom.

The nursery carries out written risk assessments at least annually. These are regularly reviewed and cover potential risks to children, staff and visitors at the nursery. When circumstances change in the nursery, e.g. a significant piece of equipment is introduced or new activity or experience planned, we review our current risk assessment or conduct a new risk assessment dependent on the nature of this change.

All staff are trained in the risk assessment process to ensure understanding and compliance of how they manage risks.

All outings away from the nursery are individually risk assessed. For more details refer to the Visits and outings policy.

### Safety Checks – Frequency and Responsibilities

At Happy Kid’s Face, the following safety checks are carried out regularly to ensure the ongoing safety of all children, staff and visitors in the nursery:

## Daily Checks

Who: Nursery staff (opening and closing staff)

Daily checks include:

- Indoor and outdoor environment safety

- Floors, doors, windows and stairways

- Outdoor area, fencing, gates and surfaces

- Toys, resources and equipment (clean, safe, undamaged)

- Toilets and bathroom areas (clean and safe)

- First aid kits (stocked and accessible)

- Fire exits (clear and unobstructed)

- Room temperatures (recorded daily)

- Chemicals and cleaning products stored securely

- Any issues recorded with actions taken

## Weekly Checks

Who: Manager or Building Owner (Jarosław Suzanski)

Weekly checks include:

- Lighting and electrical fittings

- Condition of furniture

- Gates, locks and internal doors

- Stock levels of hygiene and cleaning products

- Weekly test of smoke alarms and carbon monoxide detectors

- External paths, entrance area and general maintenance

- Kitchen equipment condition check

- Security systems check (if applicable)

## Monthly Checks

Who: Building Owner – Jarosław Suzanski

Monthly checks include:

- Full check of the garden and outdoor large equipment

- Visual check of fire extinguishers

- Fire doors inspection

- Signage for fire evacuation

- Visual check of all electrical appliances

- Heating and ventilation review

- Full COSHH review (chemicals, safety data sheets, storage)

## Annual Checks

Who: Qualified and registered engineers / specialists

Annual checks include:

- Gas Safety Check carried out by a Gas Safe registered engineer

- Service of boiler and heating systems

- Portable Appliance Testing (PAT), if required

- Full Fire Risk Assessment

- Service of fire alarms and carbon monoxide detectors

- Full building inspection (structure, roof, ventilation)

- Annual written risk assessment for the whole nursery

## Ad-hoc Checks

These are carried out whenever:

- new equipment or furniture is introduced

- new activities are planned

- there are changes in room layout

- extreme weather occurs (e.g. storms, high winds – garden inspection)

- an incident, accident or near miss is reported

### Checklist Summary

| Checklist | Who checks | How often |
| --- | --- | --- |
| Daily Health & Safety Check | Nursery Staff | Daily |
| Indoor/Outdoor Check | Nursery Staff | Daily |
| Fire exits & alarms (visual) | Nursery Staff | Daily |
| Room temperatures | Nursery Staff | Daily |
| Weekly maintenance check | Manager / Jarosław Suzanski (Building Supervisor | Weekly |
| Garden & large equipment | Jarosław Suzanski | Monthly |
| Fire doors & extinguishers (visual) | Jarosław Suzanski | Monthly |
| COSHH check | Manager / Owner | Monthly |
| Gas Safety Certificate | Gas Safe Engineer | Annually |
| PAT testing | Engineer / Owner | Annual or risk-based |
| Fire Risk Assessment | Competent Assessor | Annually |
| Full building inspection | Building Owner | Annually |
| Written risk assessments | Manager | Annually + after changes |

Electrical equipment

Electrical equipment (plugs, cables, sockets)

Jarosław Suzanski – Building Supervisor / Staff (visual check)

Daily (staff visual) / Annual (PAT test by engineer)

Any faults recorded and fixed immediately

- All electrical cables are kept out of the reach of children wherever possible and shielded by furniture where they need to be at floor level

- We take a risk-based approach, considering the type of equipment and what it is being used for, to make a decision whether to have certain electrical items Portable appliance testing (PAT) tested (as per HSE guidance)

- Electrical sockets are all risk assessed and any appropriate safety measures are in place to ensure the safety of the children.

Dangerous substances

All dangerous substances including chemicals are kept in locked areas out of children’s reach. All substances are kept in their original containers with their original labels attached. Safety data sheets (Control of Substances Hazardous to Health (COSHH)) and risk assessments are kept for all substances and the appropriate personal protection taken and used, e.g. gloves, apron and goggles.

Hot drinks and food

Hot drinks must only be consumed in the staff room. No bottled or canned drinks, sweets or crisps are to be kept or consumed in the nursery rooms or outside.

Transport and outings

The nursery has a comprehensive documented policy relating to outings, which incorporates all aspects of health and safety procedures including the arrangements for transporting and the supervision of children when away from the nursery.

Room temperatures

- Staff should be aware of room temperatures in the nursery, ensure that they are suitable at all times and recorded on the appropriate sheet. There is a thermometer in each room to ensure this is monitored

- Staff must always be aware of the dangers of babies and young children being too warm or too cold

- Temperatures should not fall below 18°C in the baby rooms and 16°C in all other areas

- Where fans are being used to cool rooms, great care must be taken with regard to their positioning.

Water supplies

- A fresh water drinking supply is available and accessible to all children, staff and visitors

- All hot water taps accessible to children are thermostatically controlled to ensure that the temperature of the water does not exceed 40°C.

Gas appliances

- All gas appliances are checked annually by a registered Gas Safety Register engineer

- Carbon monoxide detectors are fitted.

| This policy was adopted on | Signed on behalf of the nursery | Date for review |
| --- | --- | --- |
| July 2026 | Monika Suzanska | July 2027 |